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	IMPORTANT
This template is a recording framework, not a compliance certificate. It does not inspect the premises, supply competence or replace premises-specific professional advice. The responsible person remains responsible for ensuring the assessment is suitable and sufficient and that necessary precautions are implemented.



Free to use for managing your own premises. Do not remove the source, version or limitation notices when sharing a completed copy.


How to use this review record
A review is a reasoned check of the existing fire risk assessment against the premises as it is now. It should examine relevant changes, incidents, maintenance, actions, new evidence and whether the assessment’s assumptions and conclusions remain reliable.
	NO UNIVERSAL ANNUAL EXPIRY
The Fire Safety Order requires review regularly and when there is reason to suspect the assessment is no longer valid or there has been a significant change. A planned review programme can be sensible, but this document does not create a fixed statutory annual interval.



A  POSSIBLE REVIEW OUTCOMES
	Remains current
	No material change identified; record the evidence and next review basis.

	Targeted revision
	Defined sections or arrangements need updating.

	Full reassessment
	The existing record is missing, fundamentally inadequate or no longer provides a reliable basis.

	Immediate action
	A serious concern requires controls or restrictions without waiting for document revision.



B  REVIEW DISCIPLINE
	Confirm before signing
□  The full current FRA and action plan were available.
□  Relevant areas and records were examined, not just the cover date.
□  Responsible persons and people controlling shared systems were consulted where necessary.
□  Uncertainty, inaccessible areas and further investigation are recorded.
□  Any urgent concern was escalated immediately.





01  ASSESSMENT AND REVIEW DETAILS
	Premises name
	 

	Full address and postcode
	 

	Responsible person(s)
	 

	Existing FRA reference/version
	 

	Existing FRA date
	 

	Original assessor
	 

	Review date
	 

	Reviewer name
	 

	Reviewer organisation
	 

	Reviewer competence/role
	 

	Reason for review
	□ Planned review     □ Triggered review     □ Handover     □ Other



	Areas, activities and records included in this review
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________



	Areas or evidence not available
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________





02  CHANGES AND REVIEW TRIGGERS
	Potential change or trigger
	No
	Yes
	Details / action ref

	Building layout, use, occupancy or operating hours
	□
	□
	

	Responsible person, ownership, tenancy or areas of control
	□
	□
	

	Staffing, vulnerable people or assistance arrangements
	□
	□
	

	Processes, storage, dangerous substances or ignition sources
	□
	□
	

	Escape routes, exits, security or assembly arrangements
	□
	□
	

	Alarm, emergency lighting, doors, compartmentation or other systems
	□
	□
	

	Construction, external walls, refurbishment or maintenance work
	□
	□
	

	Fire, near miss, unwanted alarm or important system failure
	□
	□
	

	Enforcement, insurance, licensing or competent-person concern
	□
	□
	

	New guidance, evidence or information affecting an assumption
	□
	□
	


	Summary of material changes
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________





03  PEOPLE, HAZARDS AND PRECAUTIONS
	Area reviewed
	Evidence and present position
	Revision/action ref

	People at risk
	Occupancy, unfamiliar people, sleeping risk, vulnerability and assistance arrangements.
	

	Fire hazards
	Ignition, fuel, oxygen, dangerous substances, housekeeping and deliberate fire-setting.
	

	Means of escape
	Routes, travel, exits, capacity, protection, security and external escape.
	

	Detection and warning
	Coverage, audibility/visual warning, zoning, monitoring, testing, faults and false alarms.
	

	Emergency lighting
	Coverage, testing, duration evidence and defects.
	

	Fire doors and compartmentation
	Condition, alteration, inspection evidence, concealed uncertainty and remediation.
	

	Equipment and specialist systems
	Extinguishers, smoke control, suppression, firefighting facilities and impairments.
	

	Management arrangements
	Emergency plan, training, drills, maintenance, contractors and shared responsibilities.
	




04  ACTION PLAN AND MANAGEMENT EVIDENCE
	Previous action-plan status
□  Immediate and high-priority actions have current, honest status.
□  Interim precautions remain suitable and are being checked.
□  Overdue or blocked actions have been escalated.
□  Completed actions have location-specific evidence and verification.
□  Completed work has been reflected in the FRA, plans and procedures where necessary.
________________________________________________________________________________
________________________________________________________________________________



	Testing, inspection and maintenance evidence examined
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________



	Training, drills, incidents and false-alarm evidence examined
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________



	Outstanding defects, impairments or further investigation
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________





05  REVIEW DECISION
	Outcome
	□ Remains current     □ Targeted revision     □ Full reassessment     □ Immediate action

	Existing risk conclusion remains reliable
	□ Yes     □ No     □ Only after stated revisions

	Emergency plan requires revision
	□ No     □ Yes

	New or revised actions required
	□ No     □ Yes — transfer to action plan

	Specialist investigation required
	□ No     □ Yes

	Interim precautions required
	□ No     □ Yes



	Reasoned review conclusion
Explain the evidence, material changes, unresolved uncertainty and why the selected outcome is justified.
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________



	Required revisions and immediate or interim precautions
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________
________________________________________________________________________________





06  APPROVAL AND FUTURE REVIEW
	Revised FRA version/reference
	 

	Revision issue date
	 

	Actions transferred to plan
	 

	Information communicated to
	 

	Next planned review basis
	 

	Earlier review triggers
	Significant change, fire, near miss, system failure or reason to suspect invalidity



	Review approval

	Reviewer name/signature
	 

	Date
	 

	Responsible person name/signature
	 

	Date
	 



Review history
	Date
	Trigger/basis
	Outcome and revision
	Reviewer

	 
	 
	 
	 

	 
	 
	 
	 

	 
	 
	 
	 

	 
	 
	 
	 

	 
	 
	 
	 



Sources: Regulatory Reform (Fire Safety) Order 2005, Article 9; GOV.UK workplace fire-safety responsibilities; Home Office five-step fire-risk-assessment checklist. Review against current law and premises-specific guidance before use.
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