FIRE SAFETY SERVICES

FREE MANAGEMENT CHECKLIST

Fire Safety Compliance Checklist

A practical evidence check covering responsibility, assessment, people, escape, systems, records and corrective action.

| Jurisdiction | England |
| --- | --- |
| Version | 1.0 |
| Published | 24 July 2026 |

IMPORTANT This template is a recording framework, not a compliance certificate. It does not inspect the premises, supply competence or replace premises-specific professional advice. The responsible person remains responsible for ensuring the assessment is suitable and sufficient and that necessary precautions are implemented.

Free to use for managing your own premises. Do not remove the source, version or limitation notices when sharing a completed copy.

# How to use this checklist

Use the checklist as a structured management review. Mark “Yes” only where you can identify reliable evidence. Use “N/A” only with a recorded reason. Transfer genuine gaps into an action plan and verify completion.

NOT A COMPLIANCE SCORE The number of boxes marked “Yes” does not determine compliance. Some items may be controlled another way, held by another responsible person or require specialist evaluation. This checklist is not an inspection, fire risk assessment or compliance certificate.

| Premises name |  |
| --- | --- |
| Full address and postcode |  |
| Responsible person(s) |  |
| Completed by |  |
| Role/competence |  |
| Checklist date |  |
| Current FRA reference/date |  |
| Review reason | □ Routine □ Change □ Handover □ Concern □ Other |

Areas, records and people consulted ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________

01  RESPONSIBILITY AND ASSESSMENT

Confirm legal responsibility, assessment scope and cooperation.

| Management prompt | Yes | No | N/A | Evidence, uncertainty or action ref |
| --- | --- | --- | --- | --- |
| The responsible person or responsible persons are identified. | □ | □ | □ |  |
| Areas controlled by each responsible person are understood. | □ | □ | □ |  |
| Responsible persons in shared premises cooperate and exchange relevant information. | □ | □ | □ |  |
| A current fire risk assessment covers the correct premises, areas, uses and activities. | □ | □ | □ |  |
| The assessment is recorded in full with assessor details, scope, findings and limitations. | □ | □ | □ |  |
| The assessment was completed by someone competent for the premises and complexity. | □ | □ | □ |  |
| The FRA action plan has priorities, owners, targets and honest current status. | □ | □ | □ |  |
| Important limitations and further-investigation needs are being managed. | □ | □ | □ |  |

IF YOU CANNOT CONFIRM AN ITEM Record why, consider any immediate or interim precaution, assign an owner and obtain competent advice where necessary. An unticked or uncertain item is a question, not automatically proof of a breach.

02  PEOPLE AND EMERGENCY PLANNING

Check that arrangements reflect everybody who may be present.

| Management prompt | Yes | No | N/A | Evidence, uncertainty or action ref |
| --- | --- | --- | --- | --- |
| Employees, residents, visitors, contractors and out-of-hours occupants are considered. | □ | □ | □ |  |
| People who may need additional information or assistance have suitable arrangements. | □ | □ | □ |  |
| The evacuation strategy is clear and matches the building and fire strategy. | □ | □ | □ |  |
| A premises-specific emergency plan is recorded and available. | □ | □ | □ |  |
| Staff roles for raising the alarm, calling the fire service and evacuation are defined. | □ | □ | □ |  |
| Assembly, accountability and re-entry arrangements are understood. | □ | □ | □ |  |
| Visitors, contractors, lone workers and temporary staff receive suitable information. | □ | □ | □ |  |
| Emergency arrangements are coordinated with other responsible persons. | □ | □ | □ |  |

IF YOU CANNOT CONFIRM AN ITEM Record why, consider any immediate or interim precaution, assign an owner and obtain competent advice where necessary. An unticked or uncertain item is a question, not automatically proof of a breach.

03  ESCAPE AND PHYSICAL PRECAUTIONS

Review routes, exits, doors, compartmentation and warning arrangements.

| Management prompt | Yes | No | N/A | Evidence, uncertainty or action ref |
| --- | --- | --- | --- | --- |
| Escape routes and final exits are available, unobstructed and readily usable. | □ | □ | □ |  |
| Exit security does not prevent immediate escape when required. | □ | □ | □ |  |
| Travel distances, route capacity and alternative escape remain suitable. | □ | □ | □ |  |
| Fire doors are identifiable, in suitable condition and not improperly held open. | □ | □ | □ |  |
| Compartmentation concerns, penetrations and concealed uncertainty are escalated. | □ | □ | □ |  |
| Fire detection and alarm arrangements support the evacuation strategy. | □ | □ | □ |  |
| Emergency lighting supports escape and relevant safety tasks. | □ | □ | □ |  |
| Signs, notices and wayfinding are suitable for the premises and occupants. | □ | □ | □ |  |

IF YOU CANNOT CONFIRM AN ITEM Record why, consider any immediate or interim precaution, assign an owner and obtain competent advice where necessary. An unticked or uncertain item is a question, not automatically proof of a breach.

04  EQUIPMENT, SYSTEMS AND MAINTENANCE

Check suitability, testing, competent service and defect control.

| Management prompt | Yes | No | N/A | Evidence, uncertainty or action ref |
| --- | --- | --- | --- | --- |
| Firefighting equipment is suitable, accessible and maintained. | □ | □ | □ |  |
| Alarm testing, servicing and monitoring arrangements are defined and recorded. | □ | □ | □ |  |
| Emergency-lighting checks and duration tests are defined and recorded. | □ | □ | □ |  |
| Fire doors, smoke control, suppression and specialist systems receive appropriate checks. | □ | □ | □ |  |
| Fire-service facilities and access are kept available where applicable. | □ | □ | □ |  |
| System defects, isolations and impairments create a tracked response. | □ | □ | □ |  |
| Interim precautions are used and reviewed while protection is impaired. | □ | □ | □ |  |
| Competent contractor reports, certificates and remedial evidence are retained. | □ | □ | □ |  |

IF YOU CANNOT CONFIRM AN ITEM Record why, consider any immediate or interim precaution, assign an owner and obtain competent advice where necessary. An unticked or uncertain item is a question, not automatically proof of a breach.

05  TRAINING, DRILLS AND OPERATIONAL CONTROL

Verify that people understand and practise the arrangements.

| Management prompt | Yes | No | N/A | Evidence, uncertainty or action ref |
| --- | --- | --- | --- | --- |
| Staff receive suitable fire-safety induction before relying on them in an emergency. | □ | □ | □ |  |
| Role-specific instruction is provided to wardens and people assisting evacuation. | □ | □ | □ |  |
| Refresher training reflects risk, staff turnover and evidence from drills or incidents. | □ | □ | □ |  |
| Drills or exercises test the plan at a risk-appropriate frequency. | □ | □ | □ |  |
| Drill observations become recorded actions and are followed through. | □ | □ | □ |  |
| Housekeeping, storage, waste, charging and ignition sources are controlled. | □ | □ | □ |  |
| Contractors, hot work, dangerous substances and temporary changes are controlled. | □ | □ | □ |  |
| Arson and deliberate fire-setting risks are considered. | □ | □ | □ |  |

IF YOU CANNOT CONFIRM AN ITEM Record why, consider any immediate or interim precaution, assign an owner and obtain competent advice where necessary. An unticked or uncertain item is a question, not automatically proof of a breach.

06  RECORDS, ACTIONS AND REVIEW

Confirm evidence is traceable and change leads to review.

| Management prompt | Yes | No | N/A | Evidence, uncertainty or action ref |
| --- | --- | --- | --- | --- |
| Tests, servicing, inspections, training and drills have traceable records. | □ | □ | □ |  |
| Fires, near misses, false alarms and important system failures are investigated. | □ | □ | □ |  |
| Actions have a named owner, justified target and appropriate interim controls. | □ | □ | □ |  |
| Completion is supported by suitable evidence and verification. | □ | □ | □ |  |
| The fire-safety logbook, emergency plan and FRA agree with one another. | □ | □ | □ |  |
| A proportionate planned FRA review programme is recorded. | □ | □ | □ |  |
| Significant change or reason to suspect invalidity triggers an earlier review. | □ | □ | □ |  |
| Relevant fire-safety information is handed over when responsibility changes. | □ | □ | □ |  |

IF YOU CANNOT CONFIRM AN ITEM Record why, consider any immediate or interim precaution, assign an owner and obtain competent advice where necessary. An unticked or uncertain item is a question, not automatically proof of a breach.

07  ACTION SUMMARY AND APPROVAL

| Ref | Gap / required outcome | Priority | Owner | Target / status |
| --- | --- | --- | --- | --- |
| 01 |  |  |  |  |
| 02 |  |  |  |  |
| 03 |  |  |  |  |
| 04 |  |  |  |  |
| 05 |  |  |  |  |
| 06 |  |  |  |  |
| 07 |  |  |  |  |
| 08 |  |  |  |  |

Immediate or interim precautions ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________

| Management review |  |
| --- | --- |
| Checklist outcome reviewed by |  |
| Actions transferred to plan | □ Yes □ No action required |
| FRA review required | □ No □ Yes □ Obtain competent advice |
| Next management review |  |
| Name/signature |  |
| Date |  |

Sources: Home Office five-step fire-risk-assessment checklist; GOV.UK responsible-person duties; Home Office guide for persons with duties under fire-safety legislation. Supplement this general checklist for the actual premises, systems, licence, fire strategy and relevant guidance.