FIRE SAFETY SERVICES

FREE PREMISES RECORD

Fire Safety Logbook

A coordinated record for routine checks, testing, training, drills, defects, incidents and remedial action.

| Jurisdiction | England |
| --- | --- |
| Version | 1.0 |
| Published | 24 July 2026 |

IMPORTANT This template is a recording framework, not a compliance certificate. It does not inspect the premises, supply competence or replace premises-specific professional advice. The responsible person remains responsible for ensuring the assessment is suitable and sufficient and that necessary precautions are implemented.

Free to use for managing your own premises. Do not remove the source, version or limitation notices when sharing a completed copy.

# How to use this logbook

Use this logbook to show what was checked, by whom, the result and what happened when something was wrong. It should connect routine activity to a controlled defect and action process rather than becoming a collection of unexplained signatures.

A RECORD DOES NOT PROVE ADEQUACY An entry does not establish that a test was performed correctly, that a system is suitably designed or that a defect was repaired. Follow the fire risk assessment, fire strategy, manufacturer instructions, applicable standards and competent service advice.

Logbook rules □ Use permanent, traceable entries; identify the person completing each check. □ Do not alter a result to make the record appear complete. □ Transfer every defect or impairment into the defect tracker with an owner and target. □ Attach or reference certificates, reports, photographs and contractor records. □ Keep shared responsible persons informed where systems or defects affect them. □ Back up digital records and retain superseded pages where they form part of the history.

## Contents

| 01 | Premises, responsibilities and system schedule |
| --- | --- |
| 02–03 | Fire alarm tests, faults and servicing |
| 04–05 | Emergency-lighting checks and duration tests |
| 06 | Escape routes, exits and fire doors |
| 07 | Extinguishers and other systems |
| 08–09 | Training, induction and fire drills |
| 10 | False alarms, fires and near misses |
| 11 | Defects, impairments and remedial actions |
| 12 | Contractors and high-risk work |
| 13 | Certificates, reports and document register |
| 14 | Responsible-person periodic review |

01  PREMISES AND RESPONSIBILITY

| Premises name |  |
| --- | --- |
| Full address and postcode |  |
| Responsible person(s) |  |
| Logbook owner |  |
| Fire alarm contact |  |
| Maintenance contacts |  |
| Out-of-hours contact |  |
| Assembly point(s) |  |
| Current FRA reference/date |  |
| Emergency-plan reference |  |

## System and check schedule

| System/area | Routine check | Competent service | Responsible role | Record location |
| --- | --- | --- | --- | --- |

02  FIRE ALARM WEEKLY TESTS

Use a different manual call point in rotation where appropriate. Record faults and unwanted outcomes.

| Date/time | Call point / zone | Alarm and indicators | Monitoring notified | Result / defect ref | Initials |
| --- | --- | --- | --- | --- | --- |

03  FIRE ALARM FAULTS, ISOLATIONS AND SERVICING

Record impairments, temporary controls, restoration and the competent-person report reference.

| Opened | Fault / isolation | Areas affected | Interim control | Restored | Report / action ref |
| --- | --- | --- | --- | --- | --- |

04  EMERGENCY-LIGHTING ROUTINE CHECKS

Record the defined function check, visible failures and resulting defect reference.

| Date | Areas / test method | Result | Failures | Action ref | Initials |
| --- | --- | --- | --- | --- | --- |

05  EMERGENCY-LIGHTING DURATION AND SERVICE TESTS

Retain the service report and record any recharge, restoration or occupancy controls.

| Date | Test duration / scope | Result | Failed assets | Restored | Report / action ref |
| --- | --- | --- | --- | --- | --- |

06  ESCAPE ROUTES, FINAL EXITS AND FIRE DOORS

Routine checks do not replace competent inspection where required.

| Date | Area / door IDs | Routes/exits clear | Door condition / operation | Defect ref | Initials |
| --- | --- | --- | --- | --- | --- |

07  EXTINGUISHERS AND OTHER FIRE-SAFETY SYSTEMS

Include visual checks and reference competent service records for equipment and specialist systems.

| Date | Equipment / system | Location / asset | Check / service | Result / defect | Record ref |
| --- | --- | --- | --- | --- | --- |

08  STAFF INDUCTION, INFORMATION AND TRAINING

Record the subject and competence appropriate to the person’s role, not attendance alone.

| Date | Name / team | Training subject | Method / provider | Assessment / outcome | Next review |
| --- | --- | --- | --- | --- | --- |

09  FIRE DRILLS AND EVACUATION EXERCISES

Record who participated, what was observed and how learning became action.

| Date/time | Scenario / areas | Participants | Outcome / time | Learning / action ref | Lead |
| --- | --- | --- | --- | --- | --- |

Additional drill observations ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________

10  FALSE ALARMS, FIRES AND NEAR MISSES

Investigate causes, protect evidence where necessary and update arrangements when learning affects risk.

| Date/time | Event / location | Cause / investigation | Immediate response | People informed | Action / FRA review |
| --- | --- | --- | --- | --- | --- |

11  DEFECTS, IMPAIRMENTS AND REMEDIAL ACTIONS

Do not close an item without evidence that the required outcome was achieved.

| Ref | Opened / location | Defect / risk | Interim control | Owner / target | Status / evidence |
| --- | --- | --- | --- | --- | --- |

12  CONTRACTORS, PERMITS AND HIGH-RISK WORK

Record fire-safety controls for hot work, isolations, temporary arrangements and reinstatement.

| Date | Contractor / work | Permit / controls | Systems affected | Reinstated / checked | Contact / record |
| --- | --- | --- | --- | --- | --- |

13  CERTIFICATES, REPORTS AND DOCUMENT REGISTER

Use stable references and retain the underlying document in an accessible controlled location.

| Received | Document / system | Provider | Period covered | Expiry / next due | Storage / reference |
| --- | --- | --- | --- | --- | --- |

14  RESPONSIBLE-PERSON PERIODIC REVIEW

| Review period |  |
| --- | --- |
| Reviewer |  |
| FRA remains current | □ Yes □ No □ Review/revision required |
| Emergency plan remains current | □ Yes □ No |
| Immediate/high actions controlled | □ Yes □ No |
| Interim precautions verified | □ Yes □ No □ None |
| Maintenance/service evidence current | □ Yes □ No |
| Training and drills current | □ Yes □ No |
| Shared responsible persons informed | □ Yes □ No □ Not applicable |

Trends, recurring faults and significant concerns ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________

Decisions, actions and FRA review triggers ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________

| Review approval |  |
| --- | --- |
| Next management review |  |
| Name/signature |  |
| Date |  |

Sources: GOV.UK fire-safety equipment, drills and training; Home Office guide for persons with duties under fire-safety legislation. Frequencies and records must reflect the actual systems, fire strategy, FRA, competent advice and current standards.